RAS FORM 11

RADIOACTIVE MATERIALS AUTHORIZED USER INSPECTION RECORD

- Authorized User / Department

- Locations of radioactive material (RAM) use:

- EHS Official conducting inspection:

- Inspection checklist:

____ a.	Receipt, Inventory, Use record (RAS FORM 6) for each material possessed

____ b.	Formal monthly survey record (RAS FORM 4)

____ c.	Survey record daily (or as appropriate for isotope use)

____ d.	Personnel surveys

____ e.	Personnel dosimetry used

____ f.	Waste properly recorded (RAS FORM 6, RAS FORM 7)

____ g.	Fume hood, waste container, lab door, RAM storage areas properly labeled

____ h.	Radioactive material secured

____ i.	Radiation work area demarcated and RAM use equipment segregated from other equipment

____ j.	Lab posted

____ k.	Standard operating and emergency procedures posted

____ l.	Survey meter calibrated within the last year and available to the laboratory

____ m.	Training records

____ n.	Radioactive liquids in secondary containment

____o.   Food and drink not stored or consumed in the lab

____ p.   No radioactive waste in regular trash

____ q.   Proper use of personal protective equipment including lab coats, gloves, and safety glasses