RAS FORM 5

RADIATION SURVEY REPORT (SEALED SOURCE LEAK TEST)

Authorized User:

Date:

- Leak test performed by (please print):

- Department:

- Building and room number:

- Instrument used for wipe sample counting:

| Sample # | Source | Location | DPM1 | microcuries2 | Blank |
| --- | --- | --- | --- | --- | --- |

Sealed sources must be checked for leaks using wipe tests every six months.

- DPM =  [Scintillation counter sample results in CPM] / [Scintillation Counter Efficiency]

- 1 Microcurie = 2.2 x 106 DPM